Chapter 1

# INTRODUCTION

This chapter presents the background of the study, objective of the project, and its scope and limitations. It also contains the presentation of the problem that the researchers aim to solve.

## Background of the Study

Nowadays, one of the essentials in the modern environment is the electricity. Like food, water, and other necessities, electricity had also companies that distribute to the needing consumers. In this case, the electric cooperatives mainly distribute an amount of electricity to their own subscribers. The electric cooperative service is to offer an electrical power. They bill the consumers through electric meters that have a scale of the power consumed by the household or facilities, and they do the payment monthly.

Misreading in power consumption incident also comes from foreign countries. In United Kingdom, a mother burst into tears when her latest quarterly bill came to more than 10, 000-pound sterling. She accused the N power company but the company insisted that her electricity meter has been misread since 2006 and her latest bill was adjusted to take into the account the amount she owes. Accusations and trials had been made against the N power company according to the report by dailymail.co.uk (2018).

According to fin24 (2015) municipalities of Anguilla suffers several power surges in 2014 due to stolen cables. They claimed that their appliances were being damage by the power surges and the billing of these loss goes to the consumers of Anguilla City Powers.

According to Inquirer.net (2018) power outages had been in remote areas of Metro Manila and other provinces affected by Typhoon Glenda (international name: Rammasun). In line with these, power blackouts in those remote areas cannot be detected and responded by their power provider.

According to www.ceneco.com.ph.The Central Negros Electric Cooperative, Inc. (CENECO) is one of among 121 electric cooperatives in the Philippines. It was incorporated on February 24, 1975, in Bacolod City, in the Province of Negros Occidental. CENECO initially serviced Silay City; on May 16, 1976, it took over the electric system of the Municipality of Murcia. CENECO distributes power over 158 barangays of Bago City, Murcia, Bacolod City, Talisay City, Silay City and Don Salvador Benedicto. Statistically, CENECO suffers the number of losses every year due to illegal tampering. In December 2016 the average system loss of CENECO is 12.09%.

Because of its broad area of coverage, pinpointing these tappers is difficult. Manual Inspection of electric posts is very time-consuming and inefficient for the staffs. In line with these, the cost of the loss due to illegal tampering will goes to the subscribers billing of consumption to the ones house that was illegally tampered.

To solve this problem, this study aims to develop a device that can remotely disconnect and reconnect the power lines and inform the cooperatives and subscriber their power consumption immediately in the far distance. This prototype relates to the electric meters and monitors the real-time power consumption and makes the cooperative and the subscriber knows on when the power lines were connected and disconnected. In addition, the proponents aim to add surge protection and power factor correction to help the device’s end user to add another layer of protection on sudden power changes. This technology will be using a power metering module and a wireless module for notification system and data transfer. As the device will be exposed in an open environment, the casing of the device should be waterproof, power surge proof, tamper proof and well protected.

## Objective of the Study

The general objective of the study is to create an automatic power is connection and reconnection system with IoT integration.

Specifically, this study aims to:

- Design a device for electric cooperatives that will perform the following tasks:

  - Check the power consumption of the household.

  - Send data or log in real-time power consumption to the electric cooperative server via IoT system.

  - Accept instruction from admin server if the power in the subscriber must be disconnected or reconnected.

  - Determine and locate power outage in specific area.

  - Detect illegal tampering.

  - Protect households from power surges.

  - Correct power factor of household.

- Fabricate the prototype as designed.

- Develop a program for the device that can:

  - Monitor the power usage.

  - Accept instruction from the admin server.

  - Control the system.

  - Secure the whole system.

- Test the prototype of its efficiency and functionality through.

  - The capability of the device in having an accurate measurement with current and voltage.

  - The response time of the wireless module to send accurate data to the logger.

  - The security capacity of the device regarding for illegal intents.

  - The capacity of the device to record and log in real time.

  - The capability of the device component as expected.

- Evaluate the functionality, aesthetics, workability, durability, economy, safety and marketability of the system.

## Scope and Limitation

This study involves the design, fabrication, testing, and evaluation of Remote Power Disconnection and Reconnection with Tamper Detection.

Its operation is limited to its original objective as designed.

The Checking and measuring of power consumption, power factors and other electrical quantities is performed by a metering module designed by the proponents and is limited to the electrical limits and internal algorithms of the metering IC to be used in the metering module.

Request and response messages between the admin server and the device are bounded between the wireless module to be used. The device’s response time when an instruction was received is limited to the bandwidth limitation of the wireless technology used.

Detection of Tampering and correcting of power factor will be performed by monitoring the overall power factor of residential home connected to the device. The device may not detect tampering if the load of the house that tamper is very low in count and is mostly resistive.

The device is powered by an AC-DC converter directly connected to the AC mainline and cannot work without any external supply. For the device to inform the admin that a brownout occurs, the device is backed with a backup power supply.